## Sheet1
lia out, lia in. meas |  |  |  | IDEA: cannot measure intensity of flashing with all ambient light present. Scope is hard bc signal low at larger distance
A = 2.122V | f = 671.4Hz |  |  |  | BUT LIA can measure _only_ the flashing part.
need to have LED and photo R in jigs on rail
d(cm) | I (uV) | 1/d^2 | I | can have lights on!
5 | 3820 | 0.04 |  | use multimeter in R mode to bias the photoresistor :-)
10 | 1820 | 0.01 | 1820
20 | 510 | 0.0025 | 510 | ! Not point source if distance ~ dimensions of lens.
30 | 240 | 0.0011111 | 240 |  | emprically, 5cm is too close
40 | 139 | 0.000625 | 139 |  | not to mention inaccuracies in distance & 'where does it start' issue
50 | 91 | 0.0004 | 91 |  | start at 10cm, but can go to ~> 1m!
60 | 65 | 0.00027778 | 65 | !!! Photoresistor is not a linear detector … only OK b/c signals are really small on top of background
70 | 48.5 | 0.00020408 | 48.5
80 | 34..8 | 0.00015625 | 34..8
90 | 27 | 0.00012346 | 27