## Slide 1
Curve fitting
P. LeClair
PH 4/591 Fall 2022
based on material from A. Piepke
Noise floor example?

## Slide 2: Summary statistics
We have studied how to summarize a data set of independent measurements with a mean and standard deviation:
Mean:
Standard deviation:
What do we do if the data exhibits a linear correlation? Assume the variation in goes along with changing some observable not plotted here.

## Slide 3: Linear relationships
This data better described by line
How do we find the optimal and ?
Assume fluctuations are random (Gaussian), errors symmetric.
Assume the data represents the most likely outcome of the measurement.
Then: principle of maximum likelihood allows parameter estimation.

## Slide 4: Model functions
data pairs .
Want that describes so .
The function f is our fit model. What is reasonable form for f ?
Justified by how well fits the data and physical plausibility
Often starts by eyeballing it!
f needs M tunable parameters , therefore:
  .
Once a functional form has been chosen, game is to determine the numerical values of (and their errors) that best fit the data.
Assume the statistical fluctuations of the data are Gaussian

## Slide 5: Likelihood
Probability for observing for an independent variable is given by:
Our description of the “mean”
A subject to fluctuations of known standard dev (but free of fluctuations)
plays the role of the underlying true value o
Want that maximize the likelihood of observing the union of all pairs .

## Slide 6: Likelihood
Maximize product of individual data-pair wise probs:
Easier to find the max of … ln(x) is monotonic

## Slide 7: Likelihood
S that maximizes the likelihood are the best fit parameters.

## Slide 8: Likelihood
This is the chi-square statistic.
Measures the deviation of our data from the fit function .
Choose t and thus maximize likelihood
for
does not depend on , all derivatives are 0
minus sign: likelihood is maximal when this expression is minimal

## Slide 9: Chi square
This method of finding the best-fit is called chi-square minimization. It works for just about any function.
Obtain the unknown parameters by simultaneously solving the equations:
Usually leads to a system of non-linear equations that can’t be solved analytically … numerical methods required

## Slide 10: Numerical methods
T is analytically solvable
Every decent analysis program does this
Excel does the absolute bare minimum
Some will do much more – matlab, mathematica, originlab, python … many options, learn one of these.

## Slide 11: Linear case
Find the values of and which minimize
Describe data with linear function:
(each measurement has own )
and
2 eqns 2 unknowns
Need at least two data pairs to solve this problem; more improve precision.
Simultaneously solve two inhomogeneous linear equations.

## Slide 12: Linear case
Algebra ensues …
where
Solve for and .
Tedious; details in appendix

## Slide 13: Linear result
Slope of the fit line:
Intercept of the fit line:
i: number of measurements,
i=1, 2,…, N
xi: independent variable
yi: dependent variable
si: standard deviation of yi
sp2: standard deviation of p2
sp1: standard deviation of p1

## Slide 14: Linear result (equal si)
If all uncertainties are equal , simple enough Excel can do it:
Slope of the fit line:
Intercept of the fit line:

## Slide 15: Linear result - uncertainty
If all uncertainties can be assumed to be equal , you can determine this common uncertainty from the data.
e.g. uncertainties are instrumental and you’ve used the same instrument for all

## Slide 16: Linear result - uncertainty
Solve for slope …
What about the error on the fitted slope and intercept ?
(general case of unequal si again)
The slope and intercept are dependent on each other (correlated).
Must be taken into account when calculating the error of interpolated or extrapolated values

## Slide 17: Linear result - uncertainty
We use error propagation to find the errors on and , assuming the errors of the individual measurements are uncorrelated.
After some manipulation:
Where, as before:

## Slide 18: Linear result - uncertainty
For the special case of equal uncertainties for all -values the uncertainties and of the fitted intercept and slope are:

## Slide 19: Linear result - uncertainty
In Excel - use the function LINEST. Syntax:
  =LINEST(y-array,x-array,TRUE,TRUE)
You’ll need to look up the details.
This routine is what EXCEL calls an “array formula”, it needs to be declared as such.
Array formulas typically require some output to be spread over multiple cells, you need to define which cells.
Again, look up how to do this.

## Slide 20: Summary
N correlated pairs xi and yi
N correlated pairs xi and yi with individual y-errors si
Intercept:
Error in intercept:
Slope:
Error in slope:
Intercept:
Error in intercept:
Slope:
Error in slope:

## Slide 21: Going further - linearization
Both the slope and intercept are determined by simple sums; no complicated iterative process is needed to get the fit results
In many cases, experimental problems can be linearized by redefining experimental variables
Then, linear regression offers a simple means to find a description of the data.

## Slide 22: Example: Rydberg constant
Atomic spectra - wavelengths of transitions in the hydrogen atom (Balmer series).
Measure the Rydberg constant, RH, in Balmer formula
Rydberg formula:
Balmer series: .
Given , data, how to extract RH?

## Slide 23: Example: Rydberg constant
n2 | λ (nm) | sλ (nm)
4 | 484 | 4.0
5 | 433 | 3.0
6 | 408 | 2.5
7 | 395 | 3.0
8 | 387 | 1.0
Data from a hydrogen lamp via the Ocean Optics spectrometer.
Chart: Balmer series of hydrogen
| 4 | 5 | 6 | 7 | 8
 | 484 | 433 | 408 | 395 | 387
First attempt: plot the raw data, wavelength versus main quantum number of final state.
Doesn’t help, the problem is obviously non-linear.

## Slide 24: Example: Rydberg constant
Now linearize the problem with: .
n2 | 1/n22 | λ (nm) | sλ (nm) | 1/λ (nm-1) | s1/λ (nm-1)
4 | 0.063 | 484 | 4.0 | 2.066E-03 | 1.71E-05
5 | 0.040 | 433 | 3.0 | 2.309E-03 | 1.60E-05
6 | 0.028 | 408 | 2.5 | 2.451E-03 | 1.50E-05
7 | 0.020 | 395 | 3.0 | 2.532E-03 | 1.92E-05
8 | 0.016 | 387 | 1.0 | 2.584E-03 | 6.68E-06
Translate errors of y-values, from λ to 1/λ. Error propagation ftw:
Chart: Balmer series of hydrogen
| 6.25E-2 | 0.04 | 2.7777777777777776E-2 | 2.0408163265306121E-2 | 1.5625E-2
 | 0.0020661 | 0.0023095 | 0.002451 | 0.0025316 | 0.002584
Now apply linear regression to find the slope & Rydberg constant.

## Slide 25: Details.
n2 | x ≡ 1/n22 | λ (nm) | sλ (nm) | y ≡ 1/λ (nm-1) | s1/λ (nm-1) | xi2/si2 | yi/si2 | xi/si2 | xi·yi/si2 | 1/si2
4 | 0.0625 | 484 | 4 | 2.066E-03 | 1.71E-05 | 1.34E+07 | 7.086E+06 | 2.14E+08 | 4.429E+05 | 3.43E+09
5 | 0.0400 | 433 | 3 | 2.309E-03 | 1.60E-05 | 6.25E+06 | 9.020E+06 | 1.56E+08 | 3.608E+05 | 3.91E+09
6 | 0.0278 | 408 | 2.5 | 2.451E-03 | 1.50E-05 | 3.42E+06 | 1.087E+07 | 1.23E+08 | 3.019E+05 | 4.43E+09
7 | 0.0204 | 395 | 3 | 2.532E-03 | 1.92E-05 | 1.13E+06 | 6.848E+06 | 5.52E+07 | 1.398E+05 | 2.70E+09
8 | 0.0156 | 387 | 1 | 2.584E-03 | 6.68E-06 | 5.48E+06 | 5.796E+07 | 3.50E+08 | 9.056E+05 | 2.24E+10
Sum |  |  |  |  |  | 2.97E+07 | 9.18E+07 | 8.99E+08 | 2.15E+06 | 3.69E+10
Perform all multiplications and products of the sums to get , …
(y-axis is in nm, I converted to m).
from intercept: but what’s the error of ?
Tabulated value:
In practice: don’t have to do manually with sums, could use LINEST in Excel

## Slide 26: Linear fit with uncertainties
Red: neglect
Blue: include
Huge for intercept
Non-negligible for slope
(curves with or without x error same on this scale)
Mode | Slope (err) | Intercept (err)
Ignore both | 5.02 ± 0.17 | 0.32 ± 3.21
Include y error | 5.67 ± 0.08 | -15.1 ± 1.5
Include y and x errors | 5.48 ± 0.12 | -12.5 ± 1.8

## Slide 27: Power laws
“I know, let’s plot it on a log scale and the power is the slope”
“I know, we can use different power laws in different regimes”
Uncertainty and noise floor … propagate/subtract
Nothing is really a power law except in a narrow range
Don’t piece together models without (logical) glue

## Slide 28: A better way
If the model is
Then
It is true the slope of a ln y – ln x plot has slope n, but it is easy to fool yourself
Better: logarithmic derivative
Much easier to judge if plot is just a constant

## Slide 29: Exercise
From here you learn by doing
I’ll give you data – resistivity vs temperature.
You come up with a model and fit
If possible – reason for model? Physics?
Not including uncertainty for now
Report fit parameters with uncertainty and (chi-square)/DOF (and a plot obviously)

## Slide 30: Data and plausible models
Will give csv file of data
Plausible models? Many!
Material – VO2

## Slide 31: Appendices
Further details on uncertainties of extrapolated and interpolated data
Some derivations

## Slide 32: Uncertainties on Extrapolated and Interpolated Values
After performing linear regression on -data pairs, the fit line’s utility is often to use it to determine the -values for -values you haven’t directly observed during your “calibration”. If these -values are bracket by and such as you call this interpolation. If -lies outside the “calibrated” range you call this process extrapolation. The question is: how do we determine the uncertainty on interpolated and extrapolated -values?

## Slide 33
We now know how to fit this data with the equation . We get the values of m and b and their uncertainties and through linear regression.
Suppose we want to calculate the value of ŷ at some value of x, where we did not make a measurement, using the linear regression equation. What is the uncertainty on sŷ on ŷ?
My apology: there is a terminology change here. Before: . For the rest of this section I use: . I didn’t feel like changing 50+ equations…

## Slide 34
Another reminder: and are correlated because
Therefore to calculate the error on we need to propagate the errors on and , including the covariant term.
Note: the sums all go over . From here on the summation index will be dropped from the equations to reduce the number of symbols.

## Slide 35
Since :
and

## Slide 36
The covariance in this case is
From before, we showed that (sums go over )
and
I won’t show where this comes from. However, you can find this treatment in L. Lyons, Statistics for Nuclear and Particle Physicists, Cambridge University Press, p127f.

## Slide 37
Now take the partial derivatives of and with respect to or jump to result.
Start with the equations for and from linear regression
This is how slope and intercept depend on the primary data (xi, yi, and si). The change of the results under a variation of the data (derivatives), weighted by the amount of variability (uncertainties of individual data points) determines the variability of the result.

## Slide 38
Substitute this into the expression for covariance smb
Remember: Δ does not depend on the yi-values, only on the xi and si-values. This means it acts as a parameter, you don’t need to evaluate a complicated derivative of a ratio of functions.

## Slide 39
Now write this out as 4 separate sums.

## Slide 40
Δ
Finally,

## Slide 41
Note that the error in depends on . The further you extrapolate from measured values, the larger the uncertainty on the extrapolation becomes.
All sums are performed over all measured values, .

## Slide 42
Check what happens in the special case that :
This is simply the uncertainty on the -intercept:
For the unweighted case, for all

## Slide 43
Example:
You have measured 7 linearly correlated -data pairs and have knowledge of their individual standard deviation . What straight line fit do you obtain and what do you know about the uncertainties of the fit and its parameters and ?
x [arbitrary units] | y [arbitrary units] | sy [arbitrary units]
1.0 | 4.07 | 0.20
2.0 | 4.76 | 0.30
3.0 | 7.00 | 0.50
4.0 | 6.97 | 1.50
5.0 | 8.3 | 1.10
6.0 | 7.01 | 2.50
7.0 | 9.90 | 2.10
EXCEL’s answer (ignoring individual point-wise uncertainties):

## Slide 44
Now perform linear regression we learned last class, taking into account the individual uncertainties.
EXCEL’s answer (ignoring individual point-wise uncertainties):
The analyzed data was created with a random number generator (using the normal distribution). The “truth information” was:

## Slide 45
How well do we estimate interpolated and extrapolated y-values?
In this example I just ignored the covariant error term. This model is simple but wrong.

## Slide 46
In this calculation I utilized the covariant error term. This model is more complicated but correct.
The error boundaries are a little tighter as before, the point with minimal error corresponds to a different x-value.
The uncertainty is smallest where you have data (interpolation). It is smaller than the individual error bars. The uncertainty quickly grows where you have no supporting data (extrapolation).

## Slide 47
I hope some of the material I presented sticks. These basic concepts of data treatment and estimation of certainty are essential tools for anybody in the sciences, engineering etc. who has to deal with data. In practical situations: if you can’t know how sure to be about something, you need to base decisions on “feelings”, “convictions”, “common sense” instead of rational thought and quantifiable arguments.
There are certain situations where you have no choice because you simply don’t know the quantifiable details. If one has a choice ratio (Latin for reason) is usually a good guide to decision making.

## Slide 48
Appendix 2: derivation of the linear regression relations

## Slide 49: Backup: derivation of linear regression formulas for slope and y-intercept
Note: in this appendix the straight line is parametrized as f(x)=m·x+b. Therefore, m≡p2 and b≡p1.

## Slide 50
Multiply (I) by
(I)
(II)
(I)
(II)

## Slide 51
Now add (I) and (II) and define
y-intercept
Now modify the calculation from the previous slide to get the slope.

## Slide 52
Multiply (I) by
(I)
(II)
(I)
(II)

## Slide 53
Now add (I) and (II) and define
slope

## Slide 54: Backup: derivation of error on y-intercept from linear regression fit

## Slide 55
The term in square brackets is Δ

## Slide 56
Error on y-intercept
After a similar calculation
Error on slope